National Quality Forum – 3658 Adult Blood Culture Contamination Rate; A national measure and standard for clinical laboratories and antibiotic stewardship programs

Additional Documents

Table of Contents

| Content | Page Numbers |
| --- | --- |
| 1. Example of Laboratory Standard Operating Procedure for Blood Culture Contamination | 2-5 |
| 2. Logic Model for Blood Culture Testing | 6-8 |
| 3. Expert Panel Survey Results | 9-21 |
| 4. Interview questions and answers from The John Hopkins School of Medicine | 22-24 |

1. Example of Laboratory Standard Operating Procedure for Blood Culture Contamination

2. Logic Model for Blood Culture Testing

Was the standard blood culture collection procedure followed2?

Blood Culture: Preanalytical Flow

Reduced likelihood of contamination event from collection

Yes

Yes

Patient seen by clinician

Should a blood culture be ordered1?

Blood culture collected

No

No

Clinician still orders a blood culture?

Increased likelihood of contamination event from collection

Blood culture ordered when not indicated*

Blood culture not ordered

Yes

No

*See Box #4 (Postanalytical Flow)

1. Indications for ordering a blood culture:

- Cholangitis

- Complicated pneumonia

- Complication skin and soft tissue infections (SSTIs)

- Febrile neutropenia

- Fever without a source

- Meningitis

- Osteomyelitis

- Pyelonephritis

- Septic arthritis

- Suspected endovascular infections including Central Line-Associated Blood Site Infections (CLABSIs)

- Suspected infective endocarditis

- Suspected sepsis

- Unexplained leukocytosis

2. Standard Operating procedures for blood culture collection should outline steps to reduce the risk for a contamination event such as:

- Performing hand hygiene prior to specimen collection.

- Using the appropriate skin disinfectant product such as chlorhexidine gluconate (CHG) or 2% iodine tincture to cleanse the specimen collection site prior to collection.

- Disinfecting the top of the blood culture bottle with isopropyl alcohol prior to collection.

- Selecting the appropriate anatomical site for collection.

- Collecting adequate volume

- Collection of at least two blood culture sets within a septic episode (24-hour window).

- Consisting of one aerobic and one anaerobic bottle in each set.

- 10 mL of blood collected in each bottle for a total of 40 mL

# Blood Culture:  Analytical Flow

No

Blood culture analyzed in Microbiology lab

Is the blood culture positive for growth?

Blood culture reported as negative

Yes

3.  If the clinician takes action based off of the contaminated blood culture result adverse patient events may occur such as:

- Misuse or inappropriate use of antibiotics causing:

  - Hospital-acquired C. difficile colitis

  - Allergic reactions

  - Drug-drug interactions

  - Antibiotic resistance emergence

  - Disruption of the host microbiome

- Prolonged hospital stays leading to:

  - Potential increased exposure to hospital-acquired infections such as MRSA and C. difficile colitis

  - Increased patient costs, and overall hospital costs (labor and resources).

- Exposure to additional needlesticks causing:

  - Hematomas

  - Loss of venous access

  - Blood loss resulting in iatrogenic anemia

  - Low patient and caregiver satisfaction

Blood culture worked up to identify the microorganism

Blood culture reported with isolated microorganism

No

Skin Commensal microorganism identified?

Yes

Only one set positive out of two sets collected?

Proceed to work up the blood culture, discuss with clinician

No

Yes

Result as possible contamination; no further work up3

Blood culture reported with isolated microorganism

# Blood Culture:  Post Analytical Flow

Reported entities work with Laboratory to evaluate and identify areas of improvement4

Overall contamination rate report generated using laboratory information systems software

Report analyzed to determine the individual unit and personnel contamination rate

Contamination rate reported to units, infection prevention committees, and antibiotic stewardship programs

4.  Potential areas of improvements / interventions:

- Implementing the use of a dedicated phlebotomy team for blood culture collection.

- Implementing the use of diversion devices to divert the initial portion of blood drawn.

- Evaluating current standard operating procedures to ensure they reflect best practice guidelines and provide a clear process for personnel to follow.

- Providing additional training and routine competency assessments for personnel who collect blood culture specimens.

- Providing additional training and guidance to ordering clinicians to ensure blood cultures are only ordered when indicated.

2. Expert Panel Survey Results

3. Interview questions and answers from The John Hopkins School of Medicine

Interview with The Johns Hopkins University School of Medicine’s Director of the Division of Medical Microbiology and her team to address the Use and Usability sections of the NQF Submission

- What is the number of blood culture sets that your laboratories handle per year?  and broken down between the number of hospitals in your system, if appropriate

Total: 55,196 processed at the main Microbiology Laboratory. Breakdown by numbers collected at various sites.

- Tertiary Level Community Hospital with Burn Unit (Teaching Hosp)—11,723

- Suburban based Community Hospital—12,631

- Quaternary Care University Hospital with embedded cancer hospital (University Teaching Hosp)—26,845

- Embedded Children’s Hospital—4357 (not including the NICU)

- What were the challenges associated with implementing the contamination rate evaluation and reporting that your institution found as you participated in this Quality Improvement?

- Diverse group of individuals responsible for collecting samples.

  - Difficult to educate everyone.

  - Many misconceptions about how to draw blood cultures

  - Variety of antiseptics used for skin cleansing—no standardized approach to blood culture procurement

- Requirement to obtain specimens via lines for certain patient populations.

- High turnover of phlebotomists.

- Lack of leadership support to hire more phlebotomists.

- What standards or guidance were referenced for implementation?

CLSI M45

Clinical Microbiology Procedures Handbook

Published literature on different skin preps

Implementation of blood culture collection kits modeled after our central line collection kits.

- Describe the process for providing contamination rate results, including when/how often results were provided, what data were provided, what educational/explanatory efforts were made? How do you calculate the contamination rate?

Contamination rates are reported monthly to all of the hospitals and groups mentioned in question 1.   We provide key stakeholders of particular units like the EDs, ICUs, Oncology units, phlebotomy, Infection prevention and Control/CLABSI prevention groups, etc. with the number of blood cultures obtained, the positivity rate, and the blood culture contamination rates. We also show the overall institutional rates so a particular unit can compare its rates with that of the overall hospital rates.  Raw data with the names of the individuals who collected the contaminated cultures is also provided.  At the unit level, individuals with high rates of contamination are retrained.  Periodically, Microbiology Laboratory personnel and on some units, Nursing personnel will provide in-services for units that have sustained high rates over time.

We have a CLABSI reduction committee that formed in 2018.  This committee receives the blood culture contamination rates monthly and provides detailed education to the CLABSI unit champions.  We have a one-hour didactic program on blood culture contamination prevention.  In addition, we have blood culture contamination kits (peripheral and central) along with skill validation checklists to promote standardization of procedures.  The unit contamination rates with details are provided to the CLABSI champions monthly and re-training is performed as needed.

Contamination rates are calculated as follows: A blood culture is “flagged” by the Laboratory Information System as a contaminant if the culture grows a typical skin colonizer such as Bacillus sp., Corynebacterium sp., Cutibacterium sp., coagulase negative staphylococci, viridans group streptococci, Aerococcus sp., Micrococcus sp.  AND there are no other positive cultures within +/- 24 h of that positive result.  Blood culture contamination rates are calculated by dividing the total number of “flagged” cultures by the total number of blood cultures ordered from a particular location.

- What was the feedback received from the individual units, good or bad?

Many years ago when we first rolled out this program, the response from some units with high rates initially was disappointment and frustration.  However, with the data provided by the laboratory, steps were taken by some units to “own” the problem by using the data to advocate for resources.   The ED at the University Teaching Hospital requested funds to expand the clinical technicians group who perform a variety of duties such as blood draws and point of care tasks.  This group of individuals was highly trained and used the standardized blood culture collection kits.

- Were there any improvements to the rate after implementation?

Yes, the overall rates at the University Teaching Hospital dropped from 3-4% to now 1%.

- Do you interface with the Antibiotic Stewardship Committee on quality improvement initiatives?

Yes and others as well such as Infection Prevention

- Were there any unexpected findings, positive or negative during implementation including unintended impacts on patients?

We hope that there was positive impact as a result of the reduction in blood culture contamination rates.

- Were there any unexpected benefits realized from implementation?

Heightened awareness of the problem.

Standardization of blood culture collection in an interdisciplinary practice manual.

Recognition of the value of trained phlebotomists and nursing champions.

Focus on this initiative led to other quality metrics such as improving blood culture utilization, focusing on units that have high rates of single draws, reduction in blood cultures obtained via lines.

- How do your laboratories handle blood culture volume?  Is the blood culture volume recorded in the LIS or EHR?

Our laboratory uses a proprietary software associated with the BD Bactec FX (Becton Dickinson, Sparks, MD) instrument that measures blood culture volumes on units with at least 100 draws.  We provide a summary every 6 months to those units.  We look at the percentage of under-filled bottles.  We do not record the volume for individual bottles.